Items in the Lab, Inventory (Songhai Centre, Porto-Novo)

(Note that many of the numbers are generalized and not every single item was counted or included. Some items that are noted as glass may be Pyrex)

* 294 New large pipet tips (Not sure of actual name)



* About 1,004 New small pipet tips



* Bags of well over 100 used small pipet tips (autoclavable?)




* 8 glass 5ml pipets
* 1 Starch Indicator Solution (30ml)
* Flor-Bart tests
  + 9 Expired 2009
  + 6 will expire June 2011
  + 2, Exp. Unknown because outside of box



* E. Coli Positive Fluorescent Standard
  + 1 Exp. 2005
  + 1 Exp. 2009



* 1 Nitrification Inhibitor Formula, Exp. Feb. 2010



* About 35-45 microscope glass slides (many broken and dirty)



* 251 New glass vials with white caps (20ml)



* 22 New “Wheaton 411” Glass Beakers with glass lids



* 25 Unused Yellow Inoculating Loops

* 8 New Pyrex 25ml graduated cylinders with 8 red plastic bases and white neck rings

* 6 New 100ml beakers



* 5 UV lamps (none currently working, maybe because of bulb or lamp itself) [NOTE: How do we dispose of used bulbs that contain mercury?]
  + 2, 115V (possibly broken due to voltage)
  + 1, 230V
  + 2, Smaller size (most likely not working because of old bulbs)

* 7 Blacklight bulbs for UV lamps
  + 2 new (larger size)
  + 3 used (larger size, maybe unusable)
  + 2 used (smaller size, probably unusable)
* The following 4 items seem to be remnants of a water test kit
  + 1 Chloride Rgt #1
  + 1 Chloride #2
  + 1 Mixed Acid
  + 1 Sulfuric Acid



* 1 “Biplatrix” (plaster gauze?, filter?)



* 1, 50 pack of BOD Nutrient Buffer Pillows, Exp. Feb 2010 (A few may have been used)
* 
* 1 “Walgreens” Hydrogen Peroxide



* 1 Laurel Tryptose Mug Solution, Exp Jan. 2010 (There are many others as well that have been used and most expired in 2007)



* 1 New bottle of Sulfuric Acid 1:1 (30ml)
* 1 New bottle of Sulfuric Acid 0.5N (15ml)
* 1 New bottle of Ammonia Nitrogen Reagent #2 (30ml)
* About 10 Plastic graduated cylinders
  + 2, 500ml
  + 1, 250ml
  + 1, 1000ml
  + 2, 100ml
  + 2, 50ml
  + 1, 25ml
  + 1, 10ml
* About 10 Gonzaga water bottles (1 Liter)



* About 70 empty glass bottles



* About 200 glass bottles with mushroom materials inside



* 1 Bacto, Malt extract powder Bacto



* 2 portable incubators (1 working, 1 supposedly broken)

* 1 Spectrophotometer (“DR/3000”, Never used here, no one has read the instructions yet)



* 1 Arsenic Test Kit (Supposedly not needed in these areas, so it is not used often or perhaps at all)



* 1 Pathoscreen Field Test Kit



* 1 Scale (not working)
* 2 Heat Plate and Stirrer (no stirring pellets)



* Pathoscreen Medium MPN Pillows
  + About 215 Exp. Feb. 2008
  + 33 Exp. Jan. 2011



* 3 large cardboard boxes of vegetable seed packets (hundreds of packets)



* 1 Dissolved Oxygen Meter (Not being used because previously thought to be broken, but turns on with 4 AA batteries)




* + 3 probes
  + 1 Black Calibration and Storage Chamber
  + 1 Black Funnel?



* + 1 Charger with VGA computer port (charger may be broken due to voltage difference)



* 1 Dissolved Oxygen Electrode Filling Solution, Exp, 2006 (50ml, but half full)



* 2 large incubators, about 2 foot height x 3 foot width x 2 foot depth



* Hundreds of plastic bags
* 8 Petri Dishes
* 2 autoclaves
  + 1 working



* + 1, Has not been used and no one knows how, but when plugged in turns on and seems to be fine; parts may be missing however.





* 1 working Eppendorf Pipet, Several not working



* 1 Refrigerator



* 2 Fume hoods?



* 2 Microscopes



* 1 Bunsen Burner?



* 1 Wilson



* 1 Christopher

